
GENERAL NOTES FOR GRADING PLANS
1. ALL CONSTRUCTION ON-SITE SHALL CONFORM TO THE REQUIREMENTS OF THE CITY OF COACHELLA, TITLE 24 OF THE CALIFORNIA ADMINISTRATIVE CODE, CHAPTER 2 AND THE CALIFORNIA BUILDING CODE.
2. ALL GRADING SHALL BE DONE IN CONFORMANCE WITH THE CALIFORNIA BUILDING CODE, APPENDIX CHAPTER 33, REGULATING THE EXCAVATION AND GRADING OF LAND AND AMENDMENTS THERETO, THE REQUIREMENTS OF THE CITY OF COACHELLA AND THE RECOMMENDATIONS OF THE SOILS REPORT, PREPARED BY ____________________, DATED _________________.

3. CARE SHALL BE TAKEN TO PROTECT ALL CONSTRUCTION STAKES.  RESURVEY RESULTING FROM CARELESS OPERATION SHALL BE BACK-CHARGED TO THE CONTRACTOR.
4. NO GRADING WORK SHALL BE ACCOMPLISHED WITHOUT A CITY PERMIT.
5. THE ENGINEERING DEPARTMENT SHALL BE NOTIFIED 48 HOURS IN ADVANCE OF ANY GRADING OPERATION, TO SCHEDULE A PRE-GRADING MEETING AT THE SITE.  THE DEVELOPER/OWNER, GRADING CONTRACTOR, DESIGN CIVIL ENGINEER, SOILS ENGINEER, CITY ENGINEER AND THE CITY INSPECTOR SHALL BE PRESENT AT THIS MEETING.
6. THE PERMITTEE OR HIS AGENT SHALL NOTIFY THE ENGINEERING DEPARTMENT WHEN GRADING IS READY FOR EACH OF THE FOLLOWING INSPECTIONS:

a. INITIAL INSPECTION.  WHEN THE PERMITTEE IS READY TO BEGIN WORK, BUT NOT LESS THAN TWO (2) DAYS BEFORE ANY GRADING OR CLEARING/SHRUBING IS STARTED.
b. ROUGH GRADING.  WHEN ALL ROUGH GRADING HAS BEEN COMPLETED.  THIS INSPECTION MAY BE CALLED FOR AT THE COMPLETION OF ROUGH GRADING.

c. FINAL INSPECTION.  WHEN ALL WORK, INCLUDING INSTALLATION OF PROTECTIVE DEVICES HAS BEEN COMPLETED AND THE AS-GRADED PLAN, PROFESSIONAL CERTIFICATIONS, AND THE REQUIRED REPORTS HAVE BEEN SUBMITTED.
7. FILLS SHALL BE COMPLETED THROUGHOUT TO 90% RELATIVE COMPACTION AS DETERMINED BY ASTM STD NO. D-1557, LATEST EDITION, 5 LAYER METHOD AND CERTIFIED BY THE SOILS ENGINEER.
8. AREAS TO BE GRADED SHALL BE PROPERLY PREPARED IN ACCORDANCE WITH THE PRELIMINARY SOILS REPORT AND APPROVED BY THE  CITY ENGINEER AND THE SOILS ENGINEER PRIOR TO PLACING OF FILL. 

9. THE EXISTING IRRIGATION LINES AND CISTERNS SHALL BE REMOVED OR CRUSHED IN PLACE AND BACKFILLED, AND APPROVED BY THE CITY ENGINEER AND SOILS ENGINEER. 

10. THE SOILS ENGINEER SHALL BE RESPONSIBLE FOR THE QUALITY OF THE WORK PERFORMED BY THE GRADING CONTRACTOR, AND EXERCISE SUFFICIENT SUPERVISORY CONTROL DURING GRADING TO INSURE COMPLIANCE WITH THE PLANS, SPECIFICATIONS, AND CODES WITHIN HIS PURVIEW.
11. THE DESIGN CIVIL ENGINEER SHALL EXERCISE SUFFICIENT SUPERVISORY CONTROL DURING GRADING AND CONSTRUCTION TO INSURE COMPLIANCE WITH THE PLANS, SPECIFICATIONS, AND THE CODES WITHIN HIS PURVIEW.
12. DUST SHALL BE CONTROLLED BY WATERING AND OTHER BEST MANAGEMENT PRACTICES PER APPROVED FUGITIVE DUST CONTROL PLAN (PM-10). 
13. APPROVED PROTECTION MEASURES AND TEMPORARY DRAINAGE PROVISIONS MUST BE USED TO PROTECT ADJOINING PROPERTIES DURING GRADING OF PROJECT.

14. PRIOR TO FINAL APPROVAL, THE DESIGN CIVIL ENGINEER SHALL CERTIFY TO THE CITY ENGINEER THAT THE SITE HAS BEEN GRADED TO THE LINE AND GRADE SHOWN ON THE APPROVED GRADING PLANS.

15. THE DESIGN CIVIL ENGINEER SHALL CERTIFY THAT THE GRADES SHOWN ON THE PLANS MEET THE FEMA FLOOD INSURANCE RATE MAP REQUIREMENTS AND THE CITY OF COACHELLA FLOOD PROTECTION ORDINANCE.

16. THE CONTRACTOR SHALL NOT DISTURB EXISTING SURVEY MONUMENTS OR BENCHMARKS NOTED ON THE PLANS OR DISCOVERED IN THE FIELD. REMOVAL AND REPLACEMENT SHALL BE DONE BY A REGISTERED CIVIL ENGINEER OR LICENSED SURVEYOR ONLY.
17. THE LOCATION AND PROTECTION OF ALL UTILITIES IS THE RESPONSIBILITY OF THE PERMITTEE AND THE PERMITTEE SHALL NOTIFY ALL AFFECTED UTILITIES 18 HOURS IN ADVANCE OF ANY WORK.
CITY OF COACHELLA

GRADING NOTES

CITY OF COACHELLA

GRADING NOTES

