GENERAL CONSTRUCTION NOTES
1. ALL DESIGN, MATERIALS, AND CONSTRUCTION WORK SHALL CONFORM TO THE CITY OF COACHELLA STANDARD SPECIFICATIONS AND PROCEDURES AND THE CITY OF COACHELLA STANDARD DRAWINGS AND TO THE REQUIREMENTS OF THE STANDARD SPECIFICATIONS FOR PUBLIC WORKS CONSTRUCTION (GREENBOOK), MOST CURRENT EDITIONS AND THESE APPROVED PLANS.

2. THE CONTRACTOR SHALL, AT NO EXPENSE TO THE CITY, PROVIDE ALL NECESSARY SAMPLES AND TESTS REQUIRED BY THE CITY TO ASSURE THAT THE QUALITY OF THE MATERIALS AND WORKMANSHIP ARE IN ACCORDANCE WITH THESE PLANS AND SAID SPECIFICATIONS.
3. THE CONTRACTOR SHALL BE RESPONSIBLE FOR ALL WORK AND SHALL MAINTAIN ALL FACILITIES COMPLETE AND UNCOMPLETED UNTIL ACCEPTED BY THE CITY.  

4. IT SHALL BE THE RESPONSIBILITY OF THE CONTRACTOR TO CLEAR THE RIGHT-OF-WAY IN ACCORDANCE WITH THE PROVISIONS OF LAW AS IT AFFECTS EACH UTIILTY INCLUDING IRRIGATION LINES AND APPURTENANCES AT NO COST TO THE CITY.

5. THE CONTRACTOR SHALL OBTAIN AND REVIEW ALL NECESSARY STANDARDS, PLANS, AND SPECIFICATIONS IN DETAIL PRIOR TO START OF CONSTRUCTION.  ALL DOCUMENTS, INCLUDING APPROVED PLANS AND REFERENCED STANDARDS SHALL BE ON-SITE AT ALL TIMES.  CONFLICTS SHALL BE BROUGHT TO THE ATTENTION OF THE CITY INSPECTOR PRIOR TO WORK IN THAT AREA.
6. ALL ELEVATIONS SHOWN TO BE EXISTING FROM RECENT SURVEY OF THE ENGINEER AND SHALL BE VERIFIED BY THE CONTRACTOR PRIOR TO CONSTRUCTION.

7. PRIOR TO BEGINNING ANY WORK, CONTRACTOR SHALL SECURE A CITY OF COACHELLA PERMIT FOR CONSTRUCTION.  THE CONTRACTOR SHALL NOTIFY THE CITY OF COACHELLA (760) 398-5744, 72 HOURS PRIOR TO STARTING ANY WORK.  A PRE-CONSTRUCTION MEETING SHALL BE SET UP WITH THE CITY OF COACHELLA ENGINEERING DEPARTMENT AND ALL AFFECTED UTILITY COMPANIES SHALL BE PRESENT.

8. CONTRACTOR SHALL CALL U.S.A., UNDERGROUND SERVICE ALERT, AT 1-800-227-2600 AND SHALL VERIFY LOCATION OF ALL EXISTING UTILITIES 24 HOURS IN ADVANCE OF THE COMMENCMENT OF CONSTRUCTION.
9. OSHA SAFETY ORDERS AND OSHA CONFINED SPACE ENTRY REQUIREMENTS SHALL BE FOLLOWED AT ALL TIMES WITHOUT EXCEPTION.  

10. THE CONTRACTOR SHALL GUARANTEE ALL WORK FOR A PERIOD OF ONE YEAR AFTER THE DATE OF FINAL ACCEPTANCE BY CITY OF COACHELLA IN ACCORDANCE WITH THE CITY OF COACHELLA STANDARD SPECIFICATIONS.
11. QUANTITIES SHOWN HEREON ARE FOR ESTIMATE PURPOSES ONLY. NEITHER THE DESIGN ENGINEER NOR THE CITY OF COACHELLA GUARANTEE THE ACCURACY OR COMPLETENESS OF THE CONSTRUCTION QUANTITIES.

12. CONTRACTOR SHALL CONFORM TO LABOR CODE SECTION 6705 BY SUBMITTING A DETAIL PLAN TO THE CITY ENGINEER SHOWING THE DESIGN OF SHORING, BRACING, SLOPING, OR OTHER PROVISIONS TO BE MADE FOR PROTECTION OF WORKERS FROM THE HAZARD OF CAVING GROUND DURING TRENCH EXCAVATION AND PIPE INSTALLATION THEREIN.  THIS PLAN MUST BE PREPARED FOR ALL TRENCHES FIVE FEET OR MORE IN DEPTH.  IF THE PLAN VARIES FROM THE SHORING SYSTEM STANDARDS ESTABLISHED BY THE CONSTRUCTION SAFETY ORDERS, TITLE 8, CALIFORNIA ADMINISTRATIVE CODE, THE PLAN SHALL BE PREPARED BY A REGISTERED ENGINEER.  A COPY OF THE OSHA EXCAVATION PERMIT MUST BE SUBMITTED TO THE CITY OF COACHELLA INSPECTOR PRIOR TO EXCAVATION.

13. THE EXISTENCE AND LOCATION OF UNDERGROUND UTILITIES SHOWN ON THESE PLANS WAS OBTAINED BY AVAILABLE RECORDS SEARCH BY THE DESIGN ENGINEER.  TO THE BEST OF THE DEISGN ENGINEER’S KNOWLEDGE, THERE ARE NO EXISTING UTILITIES EXCEPT THOSE SHOWN ON THESE PLANS. ATTENTION IS CALLED TO THE POSSIBLE EXISTENCE OF OTHER UTILITIES OR STRUCTURES NOT SHOWN, OR IN A DIFFERENT LOCATION FROM THAT SHOWN ON THE PLANS.  THE CONTRACTOR SHALL TAKE DUE PRECAUTIONARY MEASURES TO PROTECT THE UTILITIES SHOWN ON THE PLANS AND OTHER EXISTING FACILITIES OR STRUCTURES NOT SHOWN. 

14. APPROVAL OF THIS PLAN BY THE CITY OF COACHELLA DOES NOT CONSTITUTE A REPRESENTATION OF THE ACCURACY OF THE LOCATION OF, OR THE EXISTENCE OR NON-EXISTENCE OF, ANY UNDERGROUND UTILITY, PIPE, OR STRUCTURE WITHIN THE LIMITS OF THIS PROJECT.

15. CONTRACTOR IS RESPONSIBLE FOR COMPLYING WITH ALL LOCAL, STATE, AND FEDERAL SAFETY REGULATIONS INCLUDING, BUT NOT LIMITED TO, TRENCH SAFETY AND CONFINED SPACE ENTRY.

16. SOILS REPORTS SHALL BE SUBMITTED TO THE CITY OF COACHELLA BY A QUALIFIED SOILS ENGINEER WHICH CERTIFIES THAT TRENCH BACKFILL WAS COMPACTED AS DIRECTED BY THE SOILS ENGINEER IN ACCORDANCE WITH ON SITE EARTHWORK SPECIFICATIONS AND THE CITY OF COACHELLA STANDARD SPECIFICATIONS.
17. ALL REVISIONS TO DRAWINGS SHALL BE APPROVED BY THE CITY ENGINEER IN WRITING PRIOR TO CONSTRUCTION.

18. CONTRACTOR IS RESPONSIBLE FOR KEEPING COMPLETE RECORD OF CHANGES AND SHALL MAKE SUCH RECORD AVAILABLE TO THE DESIGN ENGINEER.  THE PRIVATE ENGINEER SHALL PROVIDE AS-BUILT DRAWINGS TO THE CITY OF COACHELLA FOR REVIEW AND APPROVAL PRIOR TO FINAL ACCEPTANCE OF THE PROJECT.

19. THE CONTRACTOR SHALL PROTECT ALL SURVEY MONUMENTATION.  IF ANY SURVEY MONUMENTS ARE DISTURBED OR DESTROYED, THE CONTRACTOR SHALL RETAIN A LICENSED SURVEYOR TO RE-ESTABLISH AND RECORD THE MONUMENT CHANGE PER STATE LAW.
20. CONTRACTOR SHALL NOT INTERRUPT OR DISTURB ANY UTILITY FACILITY WITHOUT AUTHORITY FROM THE UTILITY COMPANIES. WHERE PROTECTION IS REQUIRED TO ENSURE INTEGRITY OF UTILITY FACILITIES (INCLUDING CITY-OWNED UTILITIES). CONTRACTOR SHALL FURNISH AND PLACE ALL NECESSARY PROTECTION.

CITY OF COACHELLA

GENERAL CONSTRUCTION NOTES


