## Utility Charge
Water Connection Fees
Terms:
HCF | Hundred Cubic Feet
MR | Meter Ratio
Enter Number of Meters
| Meter Size: |  | Gallons/min (GPM) | Meter Ratio (GPM/GPM3/4") | Enter Number of Meters by Size | Total Meter Ratio for Development
| 3/4 inch meter |  | 20 | 1 | 0 | 0
| 1 inch meter |  | 30 | 1.5 |  | 0
| 1 1/2 inch meter |  | 50 | 2.5 |  | 0
| 2 inch meter |  | 100 | 5 | 0 | 0
| 2 1/2 inch meter |  | 160 | 8 |  | 0
| 3 inch meter |  | 320 | 16 |  | 0
| 4 inch meter |  | 500 | 25 |  | 0
| 6 inchmeter |  | 1000 | 50 |  | 0
| 8 inch meter |  | 1600 | 80 |  | 0
| 10 inch meter |  | 2300 | 115 |  | 0
| 12 inch meter |  | 4300 | 215 |  | 0
Note: Meter ratio data is from AWWA manual.
| EDU's = Meter Ratio |  |  | 0
X | Water Facilities Expansion Fee |  |  | 4232.43
= | Water Connection Fee: |  |  | 0
| Please note that the minimum domestic water connection fee is the current water residential rate. | [6 empty] | 4232.43
Sanitary Sew Connection Fees
Terms:
F.U. | Fixture Units
S.F. | Sewage Factor (See memo from Curtis Aaron entitled, Sewer Capital Fees-Dialysis Center…)
EDU (s) | Equivalent Dwelling Unit(s) = 300 gpm/day
W.C.F. | Current Water Connection Fee
| Sewage Factor is based on sewer strength (User Category): | [6 empty] | Factor:
| I. | Motel/Hotel, Recreation/Amusement, Restaurant (Fast food),
|  | Office, Retail, Market (w/o butcher shop), Bar/Tavern. | [5 empty] | 0.0444
| II. | Market (w/ butcher shop), Bakery, Mortuary. | [5 empty] | 0.1081
| III. | Convelescent Hospital, Hospital, Health Spa (w/ pool),
|  | Full service restaurant. | [5 empty] | 0.2499
| IV. | Laundromat, Laundry, Dry cleaner (processor). | [5 empty] | 0.063
| V. | Church, School, Public facility. | [5 empty] | 0.1555
| Plumbing Fixture Units multiplied by Sewage Factor equals EDU or | [6 empty] | (F.U. x S.F. = EDU's)
| Number of F.U.(s): |  |  | (Staff shall input the number of Fixtures in tab 'Summary & New-Addition Fixtures' to get the total fixture units.)
X | Sewage Factor: |  | 0.0741 | (Staff shall input the Sewage Factor here.)
= | EDU(s) |  | 0.0741
| Sewer Capacity Charge |  | 4439.75
| EDU(s) multiplied by Sewer Capacity Charge equals the connection fee. | [5 empty] | (EDU(s) x S.C.C. = Connection Fee)
| EDU's | 0.0741 | X | 4439.75 | = | 328.9855
| Please note that the minimum sanitary sewer connection fee is the current residential sewer rate or | [6 empty] | 4439.75
Total Water & Sewer Connection Fee:
| Sanitary Sewer Connection Fee: |  |  |  | 4439.75
+ | Water Connection Fee: |  |  |  | 0
= | Total Water/Sewer Connection Fee: |  |  |  | 4439.75
| Please note that the minimum connection fee is the current residential water plus sanitary sewer rate added together. | [7 empty] | 8672.18
Note on J36: OCCUPANCY TYPE = FACTOR Sewage Factor for: 1= 0.0444 1. Motel/Hotel 10. Market (W/out Butcher Shop) 2. Recreation/Amusement 11. Dental Office 3. Restaurant (fast Food) 12. Medical Offices 4. Office 13. Delicatessen 5. Retail Store 14. Hair Salon/Beauty Shop/Barber S 6. Donut Shop 15. Pizza Restaurants (Take-out) 7. Barn/Tavern 16. Photo Shops (unless Industrial) 8. Auto Maint./Repair 17. Mini-Marts 9. Auto Dealership 18. Etc... Sewage Factor for: 2 = 0.1081 1. Market (With Butcher Shop) 3. Bakery 2. Mortuary Sewage Factor for: 3 = 0.1780 1. Convalescent Home 3. Hospital 2. Health Spa/ Health Clinic 4, Restaurant (full Service) Sewage Factor for: 4= 0.2499 1. Laundromat 3. Laundry 2. Dry Cleaner (Processor) Sewage Factor for: 5= 0.4910 1. Car Wash (Coin Operated) Sewage Factor for: 6= 0.0630 1. Church 3. School 2. public Facility/Parks Sewage Factor for: 7= 0.1555 1. Health Spa w/out Pool Sewage Factor for: 8= 0.0741** Not part of original table 1. Industrial OCCUPANCY TYPE = FACTOR Sewage Factor for: 1= 0.0444 1. Motel/Hotel 10. Market (W/out Butcher Shop) 2. Recreation/Amusement 11. Dental Office 3. Restaurant (fast Food) 12. Medical Offices 4. Office 13. Delicatessen 5. Retail Store 14. Hair Salon/Beauty Shop/Barber S 6. Donut Shop 15. Pizza Restaurants (Take-out) 7. Barn/Tavern 16. Photo Shops (unless Industrial) 8. Auto Maint./Repair 17. Mini-Marts 9. Auto Dealership 18. Etc... Sewage Factor for: 2 = 0.1081 1. Market (With Butcher Shop) 3. Bakery 2. Mortuary Sewage Factor for: 3 = 0.1780 1. Convalescent Home 3. Hospital 2. Health Spa/ Health Clinic 4, Restaurant (full Service) Sewage Factor for: 4= 0.2499 1. Laundromat 3. Laundry 2. Dry Cleaner (Processor) Sewage Factor for: 5= 0.4910 1. Car Wash (Coin Operated) Sewage Factor for: 6= 0.0630 1. Church 3. School 2. public Facility/Parks Sewage Factor for: 7= 0.1555 1. Health Spa w/out Pool Sewage Factor for: 8= 0.0741** Not part of original table 1. Industrial

## Summary & new addition fixtures
FIXTURE UNIT WORKSHEET | [8 empty] | Date:
Business Name: |  |  |  |  | Address:
Business Type: |  |  |  |  | Inspector:
SUMMARY & NEW ADDITIONAL FIXTURES
PLUMBING APPLIANCE / FIXTURE | PRIVATE |  |  |  |  | PUBLIC |  |  |  |  | ASSEMBLY
| QTY |  | F.U. |  | SUB | QTY |  | F.U. |  | SUB | QTY |  | F.U. |  | SUB
Bathtub or Combo Bath/Shower |  | x | 2 | ═ | 0 |  | x | 2 | ═ | 0
Clothes Washer |  | x | 3 | ═ | 0 |  | x | 3 | ═ | 0 |  | x | 3 | ═ | 0
Dental Units/ Cuspidor | [6 empty] | x | 1 | ═ | 0 |  | x | 1 | ═ | 0
Dishwasher - Domestic |  | x | 2 | ═ | 0 |  | x | 2 | ═ | 0 |  | x | 2 | ═ | 0
Dishwasher - Commercial | [6 empty] | x |  | ═ | 0 |  | x |  | ═ | 0
Drinking Fountain (Per Head) |  | x | 0.5 | ═ | 0 |  | x | 0.5 | ═ | 0 |  | x | 1 | ═ | 0
Floor Drain (2") |  | x | 2 | ═ | 0 |  | x | 2 | ═ | 0 |  | x | 2 | ═ | 0
Shower - Single Head |  | x | 2 | ═ | 0 |  | x | 2 | ═ | 0 |  | x | 2 | ═ | 0
Shower - Multiple Head, each additional |  | x | 1 | ═ | 0 |  | x | 1 | ═ | 0 |  | x | 1 | ═ | 0
Sink - Bar |  | x | 1 | ═ | 0 |  | x | 2 | ═ | 0 |  | x | 2 | ═ | 0
Sink - Commercial (Other than Lavatory) | [6 empty] | x | 3 | ═ | 0 |  | x | 3 | ═ | 0
Sink - Floor (Indirect waste. See footnote 1 & 2) | [6 empty] | x |  | ═ | 0 |  | x |  | ═ | 0
Sink - Floor ( Condensate / Low Flow) | [6 empty] | x | 1 | ═ | 0 |  | x | 1 | ═ | 0
Sink - Laundry |  | x | 2 | ═ | 0 |  | x | 2 | ═ | 0 |  | x | 2 | ═ | 0
Sink - Wash Fountain (2") | [6 empty] | x | 3 | ═ | 0 |  | x | 3 | ═ | 0
Sink - Hand wash / Lavatory |  | x | 1 | ═ | 0 |  | x | 1 | ═ | 0 |  | x | 1 | ═ | 0
Sink - Service or Mop Sink | [6 empty] | x | 3 | ═ | 0 |  | x | 3 | ═ | 0
Sink- Service, Flushing rim | [6 empty] | x | 6 | ═ | 0 |  | x | 6 | ═ | 0
Sink - Shampoo | [6 empty] | x | 2 | ═ | 0 |  | x | 2 | ═ | 0
Urinal, 1.0 GPF |  | x | 2 | ═ | 0 |  | x | 2 | ═ | 0 |  | x | 5 | ═ | 0
Water Closet, 1.6 GPF |  | x | 3 | ═ | 0 |  | x | 4 | ═ | 0 |  | x | 6 | ═ | 0
Water supply inlets to fixtures for items not listed above shall be computed at their maximum demand but in no case less than:
Inlet size of 3/8 inch or smaller |  | x | 1 | ═ | 0 |  | x | 2 | ═ | 0
Inlet size 1/2 inch |  | x | 2 | ═ | 0 |  | x | 3 | ═ | 0
Inlet size of 3/4 inch |  | x | 3 |  | 0 |  | x | 6 |  | 0
Inlet size of 1 inch |  | x | 6 |  | 0 |  | x | 10 |  | 0
Inlet size greater than 1 inch |  | x | 10 | ═ | 0 |  | x | 18 | ═ | 0
| Sub Total: |  |  |  | 0 | Sub Total: |  |  |  | 0 | Sub Total: |  |  |  | 0
Total New / Additional Fixtures:
COMMENTS:
Ref: 2007 California Plumbing Code, Table 7-3
1. Indirect waste receptors shall be sized based on the total drainage capacity of the fixtures that drain therein to, in accordance with table 7-4
2. For Commercial sinks, dishwashers and similar moderate or heavy demands.